{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":4,"n_cols":4,"rows_kept":4,"merged":[[0,0,0,3],[2,0,3,0]],"flags":["formulas_cached_only"]}
["污水处理设备招标公告主要参数"]
["合同包","设备名称","主要技术规格要求、产品品质要求","数量"]
[1,"污水处理装置","要求设备满足激发态单过硫酸氢钾、二元版CLO2消毒剂、溴氯海因三选项消毒工艺","1套"]
[null,"环评报告表",null,"1份"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}