{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["检验科、PCR年维保报价","手术室、ICU年维保报价"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"检验科、PCR年维保报价","index":0,"n_rows":20,"n_cols":9,"rows_kept":20,"merged":[[0,0,0,8],[2,0,2,5],[11,0,11,5],[19,0,19,8]],"flags":["formulas_cached_only"]}
["检验科、PCR空调设备定期维保"]
["序号","项目","规格","单位","数量","次/年","单价（元）"," 合计（元）","备注"]
["一、检验科新风机、净化全新风空调机组维护及耗材部件过滤器定期更换"]
[1,"初效过滤器","G4","套",1,6]
[2,"中效过滤器","F8","套",1,4]
[3,"高效过滤器","484 G2","台",5,1]
[4,"机组内腔清洁，轴承电机检查",null,"台",1,2]
[5,"PLC恒温恒湿变频自动控制柜检测维护",null,"套",1,2]
[6,"室外主机维护保养",null,"台",3,2]
[7,"空调室内机维护",null,"台",21,2]
[8,"空调设备定期巡检",null,"月",1,12]
["PCR空调机组耗材部件过滤器定期更换"]
[1,"初效袋式过滤器","G4","套",2,6]
[2,"中效袋式过滤器","F8","套",2,4]
[3,"高效过滤器","610 G1","台",1,1]
[4,"高效过滤器","320 G3","台",7,1]
[5,"机组内腔清洁，轴承电机检查",null,"台",1,2]
[6,"新风防雨百叶",null,"个",1,"/"]
[7,"室内吊顶线路整理",null,"项",1,"/"]
["注：耗材需根据要求提供数量"]

{"sheet":"手术室、ICU年维保报价","index":1,"n_rows":20,"n_cols":9,"rows_kept":20,"merged":[[0,0,0,8],[1,0,1,8],[3,0,3,5],[11,0,11,5],[19,0,19,8],[22,4,22,8],[23,4,23,8]],"flags":["formulas_cached_only"]}
["手术室、ICU空调设备定期维护"]
[]
["序号","项目","规格","计量  单位"," 数量","次/年","单价（元）"," 合计（元）","备注"]
["一、八楼手术室新风机组耗材部件过滤器定期更换"]
[1,"初效过滤器","G4","套",2,6]
[2,"中效过滤器","F8","套",2,4]
[3,"机组内腔清洁，轴承电机检查",null,"台",1,2]
[4,"PLC新风变频自动控制柜检测维护",null,"套",1,4]
[5,"室外主机维护保养",null,"台",5,2]
[6,"空调室内机维护",null,"台",25,2]
[7,"空调设备定期巡检",null,"月",1,12]
["二、门诊六层ICU新风机组耗材部件过滤器定期更换"]
[1,"初效过滤器","G4","套",2,6]
[2,"中效过滤器","F8","套",2,4]
[3,"机组内腔清洁，轴承电机检查",null,"台",1,2]
[4,"PLC新风变频自动控制柜检测维护",null,"套",1,4]
[5,"室外主机维护保养",null,"台",3,2]
[6,"空调室内机维护",null,"台",26,2]
[7,"空调设备定期巡检",null,"月",1,12]
["注：耗材需根据要求提供数量"]